SPECIFICATIONS

A FLOATING SURFACE AERATION SYSTEM

1.0	GENERAL

1.1	DESCRIPTION

- Manufacturer shall furnish a floating aeration system capable of pumping water from below the surface of a body of water and mixing it throughout the body of water.

- A submersible motor shall draw water into a propeller chamber where it shall be pumped into the atmosphere in the form of a random boil effect.

- The water droplets shall become oxygen enriched and return to the surface, therefore transferring oxygen from the atmosphere into the body of water.

- This repeated action shall effectively mix the body of water and distribute the dissolved oxygen continuously.

- Aeration system shall include a motor in a housing, attached to a float.  This assembly shall be connected to an electrical control panel by underwater power cable, all of which as specified in SECTION 1.2.

1.2	AERATOR COMPONENTS DESCRIPTION

- Float shall be made of linear low density polyethylene, with a minimum 14 inch (35.56cm) discharge area.  This area shall be protected by a stainless steel discharge guard. Four Series 300 stainless steel brackets shall be attached to the float, around which a protective Series 300 stainless steel intake screen shall be mounted.  The motor housing shall be attached to the brackets during installation.

- Propeller shall be precision machined and formed using Series 300 stainless steel.  It is connected to the motor shaft by a Series 300 stainless steel bolt.

- Propeller chamber shall be enclosed by a Series 300 stainless steel intake screen. Screen shall be capable of keeping out any debris which may impede the propeller’s performance.

- Motor housing shall be Series 300 stainless steel.  1-5HP shall have a permanent Series 300 stainless steel electrical hub welded on the side of the housing to allow electrical cable entry. The 1/2HP shall have a Series 300 stainless steel electrical hub welded on the bottom of the housing to allow electrical cable entry.

- Motor shall contain a Series 300 stainless steel shaft, incorporating a permanent, split phase capacitor-run on single phase and a polyphase induction on the three phase motors.  The rotor shall be dynamically balanced and ball bearing supported.  The stator windings shall be double dipped and baked with Class F insulation, designed for oil immersion operation.  The oil shall be a highly refined mineral oil of food grade quality, specially formulated for lubrication.  It shall meet FDA regulations. The oil shall provide continuous lubrication of bearings and internal seals and further function as an efficient heat transfer medium, allowing the motor to operate at 1437 RPM, at relatively low temperatures.  The motor shall be contained in the motor housing by a Series 300 stainless steel top plate.

- Seals used to protect the motor against water or oil leakage shall be a mechanical, rotating type assembly, composed of silicon carbide and Series 300 stainless steel.  All elastomers shall meet UL 778 and CE requirements.  This assembly shall then be encapsulated and protected within a Series 300 stainless steel cartridge assembly.

- Underwater power cable shall be UL Listed and specifically designed for underwater use.  The conductors are flexible, stranded copper wire sized for the amp draw and length of run.  The conductors shall be resistant to oil, water and cracking.  Power cable shall be fitted with a cable strain relief device, located within 5 feet (1.52m) of motor housing, capable of being attached to the S hook mounted on the motor housing band clamp.  This will ensure that no potential damage can occur to any cable connections, due to tension on the cable.

- Underwater power cable disconnect shall be located approximately three feet from the motor housing.  It is a two piece molded assembly made of thermoplastics, meeting UL 778 requirements. The cap end shall be permanently connected to the underwater pin and socket connector (see Section 1.2 Item J.).  The body end of the disconnect shall be permanently attached to the underwater power cable and sealed with an approved compound.  This is intended to prevent water entry if damage should occur to the cable.  The disconnect shall be sealed with an internal o-ring and by an external Series 300 stainless steel clamp ring, which can be easily opened.

- Underwater Pin and Socket Connector (1-5HP) shall consist of a Series 900 IP68 pin and socket connector.  It shall be of a 4 pin configuration rated 32 amps at 600 volts AC.  The pin end shall be potted into a Series 300 stainless steel 90° adapter elbow with an approved ridged epoxy.  This assembly shall be permanently attached to the Series 300 stainless steel hub that is welded onto the side of the Series 300 stainless steel motor housing.  The socket end shall be attached to a 36” (91.44cm) piece of UL Listed underwater power cable.  It shall be permanently secured to the UL Listed power cable by means of an integrated clamp and Series 300 stainless steel screws.  It shall be completely epoxied to prevent entry of water or any other foreign matter. The other end of this assembly is permanently attached to the cap end of the underwater cable disconnect.  It is sealed with a flexible potting compound.

1/2HP shall consist of a Series 900, IP68 pin and socket connector.  It shall be of a 4 pin configuration rated 32 amps at 600 volts AC.  The pin end shall be potted into a Series 300 stainless steel straight bell-shaped adapter with an approved ridged epoxy.  This assembly shall be permanently attached to a reinforced braided hose assembly, a Series 300 stainless steel motor housing.  This complete assembly shall be sealed with an approved flexible potting compound.  The socket end shall be attached to a 36” (91.44cm) piece of UL Listed underwater power cable.  It shall be permanently secured to the UL Listed power cable by means of an integrated clamp and Series 300 stainless steel screws.  It shall be completely epoxied to prevent entry of water or any other foreign matter.  The other end of this assembly shall be permanently attached to the cap end of the underwater cable disconnect.  It shall be sealed with an approved flexible potting compound.

- Electrical control panel (optional) specifications, see SECTION 3.

- Intake screen shall be made of 18 Gauge, Series 300 stainless steel.  The screen hole size shall be 1 inch (2.54cm) wide slots.  The screen shall have openings in a random configuration capable of keeping out any debris which may impede the propeller’s performance.

FLOATING SURFACE AERATOR DETAIL SPECIFICATIONS

2.0	DETAILED INFORMATION

2.1	This specification is intended to provide prospective bidders the necessary information pertaining to the floating surface aerator(s) specified for the _______________ Project.

  - The MOTOR(S) shall be three phase 1.5, 3.5 or 5.5HP (circle one), operating at _____ Volts, 50 Hertz, at 1437 RPM.

  - The MODEL(s) specified shall be the _______________________MODEL NUMBER. It shall come complete with an (optional) electrical control panel, protective intake screen attached to a float assembly and ______ meters / feet ______ gauge, of 4 conductor underwater power cable.

Please refer to TABLES 1 and 2 to assist in the completion of SECTION 2.0

FLOATING SURFACE AERATOR DETAIL SPECIFICATIONS (cont.)

3.0	(OPTIONAL) ELECTRICAL CONTROL PANEL COMPONENTS DESCRIPTION

- Electrical enclosure shall be NEMA 3R type, gray in color.  Panel shall be both lock and mount capable.

- GFCI breaker shall provide overload and short circuit protection, combined with Class A ground fault protection.

- Control breaker shall provide overload protection and be capable of disconnecting all incoming electricity from the control panel.

- Motor contactor shall provide a means for disconnection of all motor leads.  It shall be a magnetic, across the line starter type.

- Overload assembly shall provide overload protection and phase loss protection by means of a solid-state smart motor protector relay.  It is adjustable over the listed full load amperage draw of the motor.  It shall be self powered, low energy consumption with a visual trip indicator, test button and manual/automatic reset modes.

- Timer shall be a single pole type, rated at 220 Volts, 20 Amps, capable of a timing cycle, in 30 minute increments up to 24 hours.

3.1	SAFETY TESTING CONTROL PANEL

The (optional) electrical control panel shall be tested and approved as a complete unit and constructed to CE guidelines to attain the CE Mark.  It is inspected and listed by Underwriters Laboratories, Inc. under Category 508: Industrial Control Panels and Category 778: Submersible Aerators and Aerating Fountain Pump Systems.

3.2	ACCEPTABLE MANUFACTURER

This Volcano II Floating Surface Aerator electrical control panel, as specified in Section 3.0, shall be manufactured by AQUAMASTER® FOUNTAINS AND AERATORS, 16024 CTH X, Kiel, WI  53042, (920) 693-3121 or approved equal.

3.3	INSTALLATION

The (optional) electrical control panel must be installed in accordance with the installation instructions and in compliance with all local codes and ordinances and National Electrical Code requirements.  This should be done by a licensed electrical contractor.  Any alterations to or substitution for items in this system, unless allowed by the installation instructions, will void the Underwriters Laboratories Listing and will void the product warranty.  It may also create a hazardous installation.  Read the instructions thoroughly before starting the installation and follow them carefully throughout.

3.4	ELECTRICAL CONTROL PANEL WARRANTY

All electrical panels and their components have a 1 year warranty.

FLOATING SURFACE AERATOR DETAIL SPECIFICATIONS (cont.)

4.0	SAFETY TESTING

The Volcano II Floating Surface Aeration system shall be tested and approved as a complete unit.  This approval must meet Underwriters Laboratories Inc. requirements in compliance with 1) Category 508: Industrial Control Panels and Category: 778  Submersible Aerators and Aerating Fountain Pump Systems 2) have attained the CE Mark.  Individual component testing and wet niche environment equipment approval are not acceptable.

4.1	ACCEPTABLE MANUFACTURER

This Volcano II Floating Surface Aerator, as specified in Sections 2.2, 2.3 and 2.4, shall be manufactured by AQUAMASTER® FOUNTAINS AND AERATORS, 16024 CTH X, Kiel, WI  53042, (920) 693-3121, or approved equal.

4.2	INSTALLATION

All AQUAMASTER® VOLCANO II FLOATING SURFACE AERATORS are designed and built to be installed with an AQUAMASTER® UL Listed control panel and has attained the CE Mark and to be operated as a complete system.  Any alterations to or substitution for items in this system, unless allowed by the installation instructions, will void the UL Listing and CE Mark and will void the product warranty.  It may also create a hazardous installation.  Read the instructions thoroughly before starting the installation and follow them carefully throughout.

4.3	WARRANTY

All 1.5HP and larger AQUAMASTER® VOLCANO II FLOATING SURFACE AERATORS motors and 3 year seal assemblies are covered under warranty at 100% replacement costs should it fail due to defects in materials or workmanship for a period of 3 years from the date of shipment, when given normal and proper usage as determined by the seller upon examination, and when owned by the original user.

FLOATING SURFACE AERATOR LIGHTING SYSTEMS AND OPTIONS SPECIFICATIONS

5.0 	LIGHTING SYSTEM shall be 220 Volt, Model #______________. There are ______ total fixtures, containing ________________________ (clear or choose color(s): amber, blue, red, green or turquoise) lenses.

5.1 	A total length of _________ meters / feet of _________ (gauge) of 3 conductor underwater power cable is required.

5.2 	DEEP WATER INTAKE SYSTEM shall be capable of drawing water from further depths, in initial 3 feet (.91m) length.  Custom extensions available in 1 foot (0.31m) increments, additional ______ required.  Total length should reach beyond 50% depth but not exceed 75%.  This system provides the floating surface aerator the capability to de-stratify the pond very efficiently.  Total ________ meters / feet.

Please refer to TABLE 3 to assist in the completion of SECTION 5.

| TECHNICAL DATA |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| REFERENCE MATERIAL FOR SECTION 2.0 DETAILED INFORMATION |  |  |  |  |  |  |  |  |  |  |  |  |  |
| TABLE 1: Volcano II Floating Surface Aerator Performance Specifications – 50 Hz |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Model Number |  | HP |  | Voltage and Phase |  | Running Amp Draw @ 1437 RPM | Suggested Pond Size * |  | Spray Height |  | Spray Diameter |  | Volume m3/hour |
| F50-V5410-3 |  | 1.5 |  | 220V - 3PH |  | 7.3 | Up to 0.4 Ha Up to 1 Sa |  | 0.76 m 2.5 ft |  | 2.4 m 8 ft |  | 327 |
|  |  |  |  | 380 – 415V - 3PH |  | 4.0 |  |  |  |  |  |  |  |
| F50-V5435-3 |  | 3.5 |  | 220V – 3PH |  | 12.8 | 0.4 + Ha 1 – 1-1/2 Sa |  | 1.1 m 3.5 ft |  | 3.6 m 12 ft |  | 485 |
|  |  |  |  | 380 – 415V - 3PH |  | 7.0 |  |  |  |  |  |  |  |
| F50-V5455-3 |  | 5.5 |  | 220V – 3PH |  | 19.4 | 0.4 + Ha 1 – 1-1/2 Sa |  | 1.4 m 4.5 ft |  | 4.9 m 16 ft |  | 686 |
|  |  |  |  | 380 – 415V - 3PH |  | 11.0 |  |  |  |  |  |  |  |

The minimum operating depth is 3 ft (0.91m).

| HYDROMAX SHASTA PATTERN |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Part No. | HP | Voltage and Phase | Running Amp Draw @ 1437 RPM | Suggested Pond Size * | Spray Height | Spray Diameter | m3/min Volume |
| 910092 | 1.5 | 220V - 3PH | 7.3 | Up to 0.4 Ha Up to 1 Sa | 1.4 m 4.5 ft | 3 m 10 ft | 223 |
|  |  | 380 – 415V - 3PH | 4.0 |  |  |  |  |
| 910093 | 3.5 | 220V – 3PH | 12.8 | 0.4 + Ha 1 – 1-1/2 Sa | 1.4 m 4.5 ft | 3.4 m 11 ft | 326 |
|  |  | 380 – 415V - 3PH | 7.0 |  |  |  |  |
| 910094 | 5.5 | 220V – 3PH | 19.4 | 0.4 + Ha 1 – 1-1/2 Sa | 2 m 6.5 ft | 5.5 m 18 ft | 358 |
|  |  | 380 – 415V - 3PH | 11.0 |  |  |  |  |

*A pond's surface area is determined by multiplying its length by its width.  A pond's actual shape and depth should all be considered when selecting Horsepower and unit size(s).

TABLE 2: Cable Sizing Charts

## MAXIMUM RECOMMENDED LENGTH FROM AERATOR TO CONTROL PANEL

CONDUCTOR CABLE REQUIRED ON ALL VOLCANO II FLOATING SURFACE AERATORS

SHOWN IN BOTH METERS AND FEET

| Three Phase: 4 Conductor |  |  | Copper Wire Gauge Size |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Unit | Volts | Approx Amps @ 1437 RPM | #12 (m) | #12 (ft) | #10 (m) | #10 (ft) | #8 (m) | #8 (ft) | #6 (m) | #6 (ft) |
| 1.5HP | 220 – 230 | 7.5 | 91 | 300 | 144 | 475 | 236 | 775 | 365 | 1200 |
| 1.5HP | 380 – 415 | 4 | 304 | 1000 | 502 | 1650 | 792 | 2600 | 1280 | 4200 |
| 3.5HP | 220 – 230 | 13 | 53 | 175 | 83 | 275 | 144 | 475 | 228 | 750 |
| 3.5HP | 380 – 415 | 7 | 198 | 650 | 304 | 1000 | 502 | 1650 | 792 | 2600 |
| 5.5HP | 220 – 230 | Available Summer of 2006 – Please Consult Factory |  |  |  |  |  |  |  |  |
| 5.5HP | 380 – 480 |  |  |  |  |  |  |  |  |  |